## Test Information
Analytical Validity, Clinical Validation Summary Worksheet, Myeloid Malignancies (NGS-PF-005-v7)
Instructions: Complete as thoroughly as possible and add appropriate detail. Write 'N/A' where applicable. Expand columns/add rows and worksheets if necessary. List all samples (reference AND clinical) used in the validation on the AV & CV Summary tab.
NOTE: You must complete all summary worksheets in order for your technical assessment submission to be complete.
This attestation confirms that the test validation was performed in the CLIA laboratory associated with the registered Z-Code and that the information herein is accurate to the best of my knowledge. The laboratory and/or medical director has reviewed and approved the content of this submission.
CLIA Laboratory and/or Medical Director Name:
CLIA Laboratory and/or Medical Director Email:
Laboratory Name:
DEX Z-Code™ Identifier:
Test Name:
| QUESTION |  | RESPONSE
| General Test Information | Describe the clinical indications for testing (list the cancer type(s) indicated for the use of this test):
Where will this test be performed and will this test be performed in multiple locations?
Is this test utilizing an FDA-approved or cleared kit? (Yes/No)
Regardless of FDA-approval status, provide the name(s) of the kit and vendor used for assay and sequencing:
| Preanalytical Questions | What are the specimen types accepted for testing?
Describe the orthogonal methods used for confirmation of the clinical validation; please include details about location of comparator:
What is the assay methodology?
| Analytical Questions | Describe the library quality criteria for reporting:
Describe variant quality criteria for reporting:
What is the mean depth of coverage across the validation samples:
What is your minimum accepted mean depth of coverage for a clinical sample:
Describe any non-NGS methodologies used to cover complex regions:
How do you ensure specimen integrity/ minimize contamination?
How are controls utilized in this test?
| Post-Analytical Questions | Who reviews and signs out these test results?
How do you handle amended and corrected reports?
How do you handle negative or QNS reports?

## AV & CV Summary
Analytical Validity, Clinical Validation Summary Worksheet, Myeloid Malignancies (NGS-PF-005-v7)
Instructions: Please complete the following tables and answer the following questions as appropriate. Indicate "N/A" when not applicable.
1 - Tumor Sample Types Tested in Clinical Validation Please note: only clinical samples are to be used in proceeding Tables 2 and 3.
Add as many rows needed to include all samples tested.
| Tumor Diagnosis/Type | Number of Samples Tested
AML
MDS
MPN
MDS/MPN
*Contrived
*Reference Material
Total clinical samples in validation
Total samples in validation
*Contrived and reference material are not considered "clinical" and do not contribute to the assessment of the clinical validation.
2 - Clinical Validation Test Performance Table
Calculations for the table below must be based on individual laboratory validation data, not manufacturer advertised specifications. Please use data from clinical samples listed in Table 1.
| Variant Type1 | Variant Allele Frequency Range (%) | LLOD2 (%) | Validated Sensitivity (%) | Validated Specificity (%)
SNVs
Indels ≤40bp
Indels >40bp
CNAs
CNAs (Gain/Loss)
SVs
SSVs
MSI
TMB
1 Types = Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Alteration (CNA), Structural Variant (SV), Splice-Site Variant (SSV), Microsatellite Instability (MSI), Tumor Mutational Burden (TMB)
2 Lower limit of detection
3 - Required variants
Complete the table below.
Note: Required genes and variants are only required for disease indications in the intended use of the test. Gaps can still result in coverage, but only for the validated components.
| Variant Type SNVs/INDELS |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Disease Indications for Assay Variants
| Gene | Variant position(s)1 | Assay coverage at position? (Y/N) | Unique Samples Tested | Samples with Specified Variant Expected | Samples with Specified Variant Detected by Targeted Assay | Concordant “Positive” Samples | Concordant “Negative” Samples | Sample-level PPA | Sample-level NPA | AML | MDS | MPN | MDS/MPN
| ASXL1 | G645,G646, | [8 empty] | Included | Included | Included | Included
|  | T688,R693 | [8 empty] | Included | Included | Included | Included
| CALR | INDELs exon 9* | [10 empty] | Included | Included
| CBL | C404 | [9 empty] | Included | Included | Included
|  | R420 | [9 empty] | Included | Included | Included
|  | Y371 | [9 empty] | Included | Included | Included
|  | C384 | [9 empty] | Included | Included | Included
| CEBPA | * | [8 empty] | Included
| CSF3R | T170,T618 | [10 empty] | Included
| DNMT3A | R659,R693,R882 | [8 empty] | Included | Included
|  | P681,P715,P904 | [8 empty] | Included | Included
|  | R412,R446,R635 | [8 empty] | Included | Included
| EZH2 | Y590, Y602, Y632, Y641, Y646 | [8 empty] | Included | Included | Included | Included
| FLT3 | D839 | [8 empty] | Included
|  | D835 | [8 empty] | Included | Included
|  | I836 | [8 empty] | Included | Included
|  | ITD* | [8 empty] | Included | Included
| IDH1 | R132 | [8 empty] | Included | Included | Included | Included
| IDH2 | R120,R172,R42 | [8 empty] | Included | Included | Included | Included
|  | R10,R140,R88 | [8 empty] | Included | Included | Included | Included
| JAK2 | V468,V617 | [9 empty] | Included | Included | Included
| KIT | D812,D816 | [8 empty] | Included | Included |  | Included
| KRAS | Q61 | [8 empty] | Included | Included |  | Included
|  | G12 & G13 | [8 empty] | Included | Included |  | Included
| MPL | W515 | [9 empty] | Included | Included | Included
| NPM1 | L258,L287 | [8 empty] | Included | Included
|  | W259,W288 | [8 empty] | Included | Included
| NRAS | Q61 | [8 empty] | Included | Included |  | Included
|  | G12 & G13 | [8 empty] | Included | Included |  | Included
| RUNX1 | R174,R177,R189,R201 | [8 empty] | Included | Included |  | Included
|  | R135,R138,R150,R162 | [8 empty] | Included | Included |  | Included
|  | R166, R139 | [8 empty] | Included | Included
| SETBP1 | D868 | [9 empty] | Included |  | Included
|  | S869 | [9 empty] | Included |  | Included
|  | G870 | [9 empty] | Included |  | Included
| SH2B3 | multiple alterations | [10 empty] | Included
| SF3B1 | K700 | [9 empty] | Included | Included | Included
|  | K666 | [9 empty] | Included | Included | Included
|  | H662 | [9 empty] | Included | Included | Included
|  | R625 | [9 empty] | Included | Included | Included
|  | E622 | [9 empty] | Included | Included | Included
| SRSF2 | P95 | [9 empty] | Included | Included | Included
| STAG2 | SNV or INDEL | [8 empty] | Included | Included
| TET2 | C25,C46 | [8 empty] | Included | Included | Included | Included
|  | R544,R565 | [8 empty] | Included | Included | Included | Included
|  | R550,R571 | [8 empty] | Included | Included | Included | Included
|  | Q916,Q937 | [8 empty] | Included | Included | Included | Included
|  | R1465,R1486 | [8 empty] | Included | Included | Included | Included
|  | I1873,I1894 | [8 empty] | Included | Included | Included | Included
| TP53 | R141,R273 | [8 empty] | Included | Included | Included | Included
|  | R117,R249 | [8 empty] | Included | Included | Included | Included
|  | R116,R155,R248 | [8 empty] | Included | Included | Included | Included
|  | Y127,Y220,Y88 | [8 empty] | Included | Included | Included | Included
|  | V173,V41,V80 | [8 empty] | Included | Included | Included | Included
| UBA1 | M41T, M41V, M41L | [9 empty] | Included
| U2AF1 | Q157,Q84 | [8 empty] | Included | Included | Included | Included
|  | S34 | [8 empty] | Included | Included | Included | Included
| WT1 | A153, A170, A365, A382, A73 | [8 empty] | Included | Included
|  | S152, S169, S364, S381, S72 | [8 empty] | Included | Included
| ZRSR2 | R169 | [9 empty] | Included
* Due to difficulties in covering these regions with NGS platforms, it is acceptable to utilize other methodologies to cover these regions
1 Variant AA positions are listed using all relevant transcript positions and represent a single AA position
| RNA Variants/Fusions/Translocations (where applicable) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | Disease Indications for Assay Variants
| Gene | Required position(s) covered | Position covered by assay? (Y/N) | Unique Samples tested | Samples with Specified Variant Expected | Samples with Specified Variant Detected | Concordant “Positive” Samples | Concordant “Negative” Samples | Sample-level PPA | Sample-level NPA | AML | MDS | MPN | MDS/MPN
| ABL1 | 1: BCR/ABL1 t(9;22) | Included |  | Included
| FGFR1 | 1: ZMYM2/FGFR1 t(8;13) |  |  | Included | Included
|  | 1: other partners |  |  | Included | Included
| FLT3 | 1: ETV6/FLT3 t(12;13) |  |  | Included
|  | 1: other partners |  |  | Included
| GATA2 | 1: GATA2/MECOM t(3;3) | Included
| JAK2 | 1: PCM1/JAK2 t(8;9) |  |  | Included | Included
|  | 1: other partners |  |  | Included | Included
| KM2TA | 1: KM2TA | Included
|  | 1: KM2TA/MLLT3 t(9;11) | Included
| MYH11 | 1: CBFB/MYH11 inv(16) | Included
| PDGFRA | 1: FIP1L1/PDGFRA (4q12) |  |  | Included
|  | 1: other partners |  |  | Included
| PDGFRB | 1: ETV6/PDGFRB t(5;12) |  |  | Included | Included
|  | 1: other partners |  |  | Included | Included
| PML | 1: PML, RARA (15;17) | Included
| RUNX1 | 1: RUNX1/RUNX1T1 t(8;21) | Included

## Sample-Level Data
Analytical Validity, Clinical Validation Summary Worksheet, Myeloid Malignancies (NGS-PF-005-v7)
CLINICAL Sample Level Data (By Sample)
Instructions: Complete the table below with sample level data from validation for reportable variants. The information below is provided as an example - delete before entering your data. For items that are not applicable, enter 'N/A.' Add rows and columns as neeed.
NOTE: This table outlines the information required for each sample. If this information is clearly available in your existing validation documents, you may refer to those specific documents/page numbers in lieu of completing this table.
|  |  |  | EXPECTED RESULTS | [5 empty] | OBSERVED RESULTS
| SAMPLE IDENTIFIER | SAMPLE TYPE | CANCER TYPE/ INDICATION (ie NSCLC; Colorectal; Breast; etc), IF KNOWN | VARIANT CLASS1 | GENE | VARIANT (c./p.) | % Variant Allele Frequency (VAF) | VARIANT CLASSIFICATION | Methodology | % Variant Allele Frequency (VAF) | Results Agree ? Y/N (Exclusive of differing %VAFs) | Methodology | Explanation of Discordance (if applicable) | Comments
| 1 | bone marow aspirate | AML | SNV | IDH1 | c.395G>C/p.Arg132Pro (R132) | 20% | Pathogenic | NGS | 20% | Y | NGS | N/A
1 Single Nucleotide variant (SNV), Insertion/Deletion (INDELs), Copy Number Variant (CNV), Structural Variant (SV), Splice-Site Variant (SSV)

## Change Log
Date | Version | Note
2022-11-02 | 7 | Added Test Information tab to consolidate all general and analytical test information
2022-11-02 | 7 | Added Data Attestation for CLIA laboratory/medical director
2022-11-02 | 7 | Added to CBL, FLT3, RUNX1 gene/variant combinations to Variant Type SNVs/INDELS table in AV & CV Summary tab
2022-11-02 | 7 | Added SH2B3, STAG2, UBA1 gene/variant combinations to Variant Type SNVs/INDELS table in AV & CV Summary tab
2022-11-02 | 7 | Added RNA Variants/Fusions/Translocations (where applicable)table in AV & CV Summary tab
2022-11-02 | 7 | Added Sample-Level Data tab